data: 09/10/00

[image: image1.wmf]

The connector J1 has: 

1.  The low voltage of  linear  power supply - +5 Volt, -5 Volt  

2.  The low voltage of power supply for digital part of analog board - +5 
Volt, -5 Volt,

3.  Analog Ground . 

4.  Digital Ground.  

5.  The DAC baseline Voltage  - analogue signals.

6.  Enable of the calibration signal even channel of analog board  - 

 - TTL level.

7.  Enable  of the calibration signal odd channel of analog board

 - TTL level.

8.  Test Pulse - differential analog pulse.

9.   Enable an analog board  -   TTL  level. 

10. Global Clock - 40 MHz  -   LVD level.


The connector J2 has:

1.  Low voltage of linear Power supply - +5 Volt, -5 Volt.

2.  Analog Ground.  

3.  Enable of the calibration signal for even channel of the analog board.

4.  Enable of the calibration signal for odd channel of the analog board 

5.  Test  pulse - differential analog signal.

6.  High Voltage for detector.

7.  Enable of the Common test pulse. 

The tables 1,2,3,4  show pinout of connectors.

 Table 1:  Connector J1 pin list.


[image: image2.wmf]C1

CLOCK+

B1

  +5V

A1

  -5V

C2

CLOCK-

B2

  +5V

A2

C3

GND

B3

DAC1

A3

GND

C4

EN_BOARD

B4

DAC

A4

C5

AGND

B5

DAC2

A5

AGND

C6

CALIB_ODD

B6

A6

 -5V_LINEAR

C7

CALIB_EVEN

B7

A7

 -5V_LINEAR

C8

AGND

B8

AGND

A8

C9

TEST-PULSE+

B9

A9

 +5V_LINEAR

C10

TEST-PULSE-

B10

AGND

A10

 +5V_LINEAR



CLOCK ( -/+ )       -
The global clock  40 MHz.


EN_BOARD  

-
Enable of analog boards.


TEST-PULSE(+/-)-
Calibration Test Pulse  


CALIB_ODD        -
Enable of  the test Pulse for odd channels of the         

                                           analog boards.


CALIB_EVEN      -
Enable of  the test Pulse for even channels of the 

                                            analog boards.


AGND                  -
     Ground of linear power supply


DAC1                   -
     Pedestal level number 1.


DAC2                   -

Pedestal level number 2.

Table 2:  Connector J2 pin list.

[image: image3.wmf]C1

HVOLT(1/2)

B1

HVOLT(1/2)

A1

HVOLT(1/2)

C2

B2

A2

C3

B3

A3

C4

B4

A4

C5

B5

A5

C6

AGND

B6

AGND

A6

AGND

C7

ENABLE_ODD

B7

ENABLE_EVEN

A7

  -5V_LINEAR

C8

AGND

B8

AGND

A8

C9

T_PULSE-

B9

Comm-pulse

A9

  +5V_LINEAR

C10

T_PULSE+

B10

AGND

A10

  +5V_LINEAR


T-PULSE(+/-)

  -
Calibration Test Pulse  


ENABLE_ODD         -
Enable of  test Pulse for  odd channels analog 








boards.


ENABLE_EVEN     -
Enable of  test Pulse for even channels analog 







boards.

      Comm-pulse          -
Enable of  the Common test pulse for all 

                                           channels of the analog boards.


AGND                  -

Ground of linear power supply


HVOLT(1/2)  

-
High voltage 

Table 3: Input connector of Analog board in.
[image: image4.wmf]C1

INPUT1

A1

AGND1

C2

INPUT2

A2

AGND2

C3

INPUT3

A4

AGND3

C4

INPUT4

A3

AGND4

C5

INPUT5

A5

AGND5

C6

INPUT6

A6

AGND6

C7

INPUT7

A7

AGND7

C8

INPUT8

A8

AGND8

C9

INPUT9

A9

AGND9

C10

INPUT10

A10

AGND10

C11

INPUT11

A11

AGND11

C12

INPUT12

A12

AGND12

C13

INPUT13

A13

AGND13

C14

INPUT14

A14

AGND14

C15

INPUT15

A15

AGND15

C16

INPUT16

A16

AGND16

C17

INPUT17

A17

AGND17

C18

INPUT18

A18

AGND18

C19

INPUT19

A19

AGND19

C20

INPUT20

A20

AGND20

C21

INPUT21

A21

AGND21

C22

INPUT22

A22

AGND22

C23

INPUT23

A23

AGND23

C24

INPUT24

A24

AGND24

C25

INPUT25

A25

AGND25

C26

INPUT26

A26

AGND26

C27

INPUT27

A27

AGND27

C28

INPUT28

A28

AGND28

C29

INPUT29

A29

AGND29

C30

INPUT30

A30

AGND30

C31

INPUT31

A31

AGND31

C32

INPUT32

A32

AGND32


Table 4: Connector J1 pin list of slot for Slow Control.


[image: image5.wmf]C1

CLOCK+

B1

  +5V

A1

  +5V

C2

CLOCK-

B2

  +5V

A2

C3

GND

B3

DAC1

A3

GND

C4

B4

A4

C5

AGND

B5

DAC2

A5

AGND

C6

CALIB_ODD

B6

A6

 -5V_LINEAR

C7

CALIB_EVEN

B7

A7

 -5V_LINEAR

C8

AGND

B8

AGND

A8

C9

TEST_PULSE+

B9

A9

 +5V_LINEAR

C10

TEST_PULSE-

B10

A10

 +5V_LINEAR

C11

EN_BOARD1

B11

EN_BOARD2

A11

C12

EN_BOARD3

B12

EN_BOARD4

A12

C13

EN_BOARD5

B13

EN_BOARD6

A13

C14

EN_BOARD7

B14

EN_BOARD8

A14

C15

EN_BOARD9

B15

EN_BOARD10

A15

C16

EN_BOARD11

B16

EN_BOARD12

A16

C17

EN_BOARD13

B17

EN_BOARD14

A17

C18

EN_BOARD15

B18

EN_BOARD16

A18

C19

EN_BOARD17

B19

EN_BOARD18

A19

C20

EN_BOARD19

B20

EN_BOARD19

A20

C21

Common_Test

B21

A21

C22

CON_HV1

B22

CON_HV2

A22

C23

CON_HV3

B23

CON_HV4

A23

C24

B24

A24

C25

B25

A25

C26

B26

A26

C27

B27

A27

C28

B28

A28

C29

B29

A29

C30

B30

A30

C31

B31

A31

ENABLE_EVEN

C32

T_PULSE+

B32

T_PULSE-

A32

ENABLE_ODD


Table 4: Connector J1 HVS module 

[image: image6.wmf]C1

A1

  -5V

C2

A2

C3

A3

GND

C4

HV_CON1

A4

C5

HV_CON2

A5

AGND

C6

HV_CON3

A6

 -5V_LINEAR

C7

HV_CON4

A7

 -5V_LINEAR

C8

A8

C9

A9

 +5V_LINEAR

C10

A10

 +5V_LINEAR

C11

A11

C12

A12

C13

A13

C14

A14

C15

A15

C16

HVOLT1

A16

C17

HVOLT1

A17

C18

A18

C19

A19

C20

A20

C21

A21

C22

A22

C23

A23

C24

A24

C25

A25

C26

HVOLT2

A26

C27

HVOLT2

A27

C28

A28

C29

A29

C30

A30

C31

A31

C32

A32


[image: image7.wmf]SCM

[image: image8.wmf]SCM


































































FlangeB











18 AB �M











Analog board





Backplane








DB








The cables








18 DB





FAN








J2








J1








Flange





J3





Fig. 4.  Connection between the modules in crate of analog electronics.





SCM�M





HVfilter





Top  View





 Layout of the crate (top view). 








 Name of  file:                                                                                            pag. 8
 Iccrate1.doc

_1032606200.xls
Sheet: 桓敥ㅴ


_1032607391.doc


C1







INPUT1







A1







AGND1







C2







INPUT2







A2







AGND2







C3







INPUT3







A4







AGND3







C4







INPUT4







A3







AGND4







C5







INPUT5







A5







AGND5







C6







INPUT6







A6







AGND6







C7







INPUT7







A7







AGND7







C8







INPUT8







A8







AGND8







C9







INPUT9







A9







AGND9







C10







INPUT10







A10







AGND10







C11







INPUT11







A11







AGND11







C12







INPUT12







A12







AGND12







C13







INPUT13







A13







AGND13







C14







INPUT14







A14







AGND14







C15







INPUT15







A15







AGND15







C16







INPUT16







A16







AGND16







C17







INPUT17







A17







AGND17







C18







INPUT18







A18







AGND18







C19







INPUT19







A19







AGND19







C20







INPUT20







A20







AGND20







C21







INPUT21







A21







AGND21







C22







INPUT22







A22







AGND22







C23







INPUT23







A23







AGND23







C24







INPUT24







A24







AGND24







C25







INPUT25







A25







AGND25







C26







INPUT26







A26







AGND26







C27







INPUT27







A27







AGND27







C28







INPUT28







A28







AGND28







C29







INPUT29







A29







AGND29







C30







INPUT30







A30







AGND30







C31







INPUT31







A31







AGND31







C32







INPUT32







A32







AGND32












_1032606199.doc


C1







CLOCK+







B1







  +5V







A1







  -5V







C2







CLOCK-







B2







  +5V







A2







C3







GND







B3







DAC1







A3







GND







C4







EN_BOARD







B4







DAC







A4







C5







AGND







B5







DAC2







A5







AGND







C6







CALIB_ODD







B6







A6







 -5V_LINEAR







C7







CALIB_EVEN







B7







A7







 -5V_LINEAR







C8







AGND







B8







AGND







A8







C9







TEST-PULSE+







B9







A9







 +5V_LINEAR







C10







TEST-PULSE-







B10







AGND







A10







 +5V_LINEAR












